## System
Asset | Status | Beg | End | What | Comment
system | Fault | 20240101-0000 | 20240216-0000 | Gaps in data | Seem to be related to network or computer overloading.
system | Off | 20240202-0710 | 20240202-1210 | Outage | Times approximate
system | Fault | 20240215-1817 | 20240215-1928 | Large gaps in data, helicorder plots not updating.
system | Fault | 20240220-1200 | 20240220-1400 | Gaps in data | RS was reconfiguring things.
opsproc3 | Fault | 20240226-1550 | 20240226-1612 | Delays in Ops Room displays
system | Fault | 20240304-1400 | 20240304-1545 | No real-time data displayed, computers all sluggish. | Related to backup of winston1 to GovHQ.
system | Fault | 20240404-0000 | 20240405-1219 | Gaps in data | See gaps in displayed data and triggered data, but not in continuous data.
system | Off | 20240406-0650 | 20240406-0805 | Power off at MVO.
system | Comment | 20240406-0805 |  | Missing data on displays | After power failure, data from MSS1,MBRY,MBFL is not showing on some swarm displays.
opsrm04 | Fault | 20240406-0805 | 20240406-1305 | Reboot | After power failure, nothing displayed on leftmost monitor above ops room window.
opsrm04 | Fault | 20240406-1300 | 20240406-1828 | No network connection | I just touched the ethernet plug and connection was reestablished. Must be bad plug or socket.
system | Fault | 20240406-0805 | 20240406-1838 | Myriad problems | Network shares weren’t mounted after power failure.
system | Fault | 20240618-1135 | 20240618-2102 | No internet at MVO.
system | Fault | 20240628-0405 | 20240628-1200 | No internet at MVO.
system | Fault | 20240701-0238 | 20240701-0332 | Connectivity outage
system | Fault | 20240701-0648 | 20240701-0710 | Connectivity outage
system | Off | 20240815-2004 | 20240815-2040 | Connectivity outage
system | Fault | 20241007-1221 | 20241007-1241 | No data on Ops Room displays
system | Fault | 20241016-0600 | 20241016-1200 | Outages in displays, helicorders.
comms | Fault | 20241129-0909 | 20241129-1800 | Frequent long outages at Garibaldi Hill repeater.
system | Fault | 20241128-1700 | 20241129-1800 | Frequent gaps on displays
system | Off | 20241202-1134 | 20241202-1215 | All channels off in displays | Probably network overloading. OK after restarting wws and ew.
system | Off | 20241219-0430 | 20241219-0951 | All channels off in displays | OK after restarting ew on earthworm3. No backfilling.
system | Fault | 20250108-1915 | 20250108-1940 | Data late on displays. | Slow network?
system | Off | 20250108-2344 | 20250109-0032 | All channels off on displays | Similar to 20241219-0430? OK after restarting ew on earthworm3. No backfilling.
system | Fault | 20250109-1730 | 20250109-1742 | All channels late on displays | Similar to 20241219-0430? OK after restarting ew on earthworm3. No backfilling.
alarm | Fault | 20250326-1400 | 20250326-1450 | Seismic alarm sent out. | Generated by rsam2alarm_trem. Caused by LP signals at many stations, seen every day at the same time.
system | Fault | 20250403-0720 | 20250403-1347 | Frequent gaps on displays | OK after restarting wws and ew on earthworm3.
earthworm03 | Fault | 20250407-0000 | 20250407-1310 | Cant RDP to it from Ops Room | DW fixed it.
earthworm03 | Fault | 20250401-1400 | 20250410-1900 | ew/ew2rsam keeps crashing.
earthworm03 | Fault | 20250411-1800 | 20250410-1920’ | ew/newheli crashes
earthworm03 | Fault | 20250415-0000 |  | ew/sgram crashes
Triggering | Comment | 20250419-2000 |  | Gaps in MBRY and lateness of MBLG affecting trigger.
system | Off | 20250511-1845 | 20250511-1943 | No data being recorded | Disk full on winston1

## MBBY
Asset | Status | Beg | End | What | Comment
MBBY | Fault | 20240101-0000 |  | Slow data transfer | Tested transfer rate below 0.1 MB/s
MBBY | Off | 20240101-0224 | 20240112-0743 |  | Occasional brief periods of data.
MBBY | Fault | 20240112-1006 | 20240129-0511 | Intermittent data
MBBY | Off | 20240129-1625 | 20240129-1832
MBBY | Off | 20240130-0852 | 20240130-0246
MBBY | Off | 20240131-0710 | 20240205-0610
MBBY | Off | 20240205-0646 | 20240207-0857 |  | Occasional brief periods of data.
MBBY | Off | 20240207-0925 | 20240214-1745 |  | Occasional brief periods of data.
MBBY | Off | 20240221-1858 | 20240221-1910 |  | Power cut, radio to repeaterGBH at MVO not on UPS
MBBY | Off | 20240222-1935 | 20240222-1948 |  | Power cut
MBBY | Off | 20240523-0803 | 20240529-1505 |  | New battery installed
MBBY | Fault | 20241129-0908 | 20241129-1800 | Frequent long outages | Garibaldi Hill repeater.
MBBY | Off | 20250208-2035 | 20250209-1820
MBBY | Off | 20250401-0503 | 20250402-2048

## MBFL
Asset | Status | Beg | End | What | Comment
MBFL | Fault | 20230322-1100 |  | Intermittent loss of clock | Improved in Oct 2023, got bad again in 2025.
MBFL | Off | 20240110-2111 | 20240115-1420
MBFL | Action | 20240220-1140 |  | Enabled mass position channels | 1Hz sampling
MBFL | Fault | 20240520-1506 |  | HH! has very large oscillations
MBFL | Off | 20240821-1530 | 20240821-1600 | Maintenance
MBFL | Fault | 20241129-1842 |  | Large noise | Started 2h after power was restored.
MBFL | Action | 20241202-1445 |  | Instrument removed for testing.
MBFL | Action | 20250122-2049 |  | Instrument redeployed but not packed with sand.
MBFL | Off | 20250403-0736 | 20250403-1440

## MBFR
Asset | Status | Beg | End | What | Comment
MBFR | Off | 20240118-1000 | 20240202-1600 |  | Very slow connection, no real-time data
MBFR | Fault | 20240206-1740 | 20240214-1600 | Data is up to 40 minutes behind RT | Times approximate.
MBFR | Off | 20240208-2034 | 20240209-1900 |  | Garibaldi repeater was flooded
MBFR | Off | 20240221-1858 | 20240221-1910 |  | Power cut, radio to repeaterGBH at MVO not on UPS
MBFR | Off | 20240222-1935 | 20240222-1948 |  | Power cut
MBFR | Off | 20240405-0805 | 20240405-1413 |  | Problem with earthworm receiver on winston1
MBFR | Off | 20240713-0304 | 20240807-1949 | Lightning damage
MBFR | Action | 20240807-1949 |  | New digitizer | Serial number 05D5B
MBFR | Fault | 20240807-1949 |  | LF pulses on horizontals.
MBFR | Off | 20240925-1353 | 20240925-1403 |  | Possible earthworm or network problem.
MBFR | Fault | 20241129-0909 | 20241129-1800 | Frequent long outages | Garibaldi Hill repeater.
MBFR | Off | 20241202-0555 | 20241202-1215 | Off | Slowly catching up after system restarted.
MBFR | Off | 20250108-1502 | 20250108-1525 | Off
MBFR | Off | 20250208-2035 | 20250209-1820

## MBGB
Asset | Status | Beg | End | What | Comment
MBGB | Off | 20230127-1819 |  | Removed | Sent for repair to Guralp
MBGB | Action | 20240530-1200 |  | Installed OGM 3C | Location code 10
MBGB | On | 20250416-1320 |  | Reinstalled Radian | Minimus 05E5B, Radian 1307
MBGB | Fault | 20250506-1900 |  | High-frequency s;piky noise on all channels. | 15, 30, 45 Hz. After heavy rainfall.
MBGB | Off | 20250512-1337

## MBGH
Asset | Status | Beg | End | What | Comment
MBGH | Off | 20240113-1657 | 20240115-1422
MBGH | Off | 20240116-1821 | 20240117-1419
MBGH | Off | 20240119-1201 | 20240119-1335
MBGH | Fault | 20240131-2000 | 20240202-1600 | Very poor connection, slowly backfilling
MBGH | Fault | 20240206-1740 | 20240214-1600 | Data is approx 20 minutes behind RT | Times approximate.
MBGH | Off | 20240208-2102 | 20240209-1900 |  | Garibaldi repeater was flooded
MBGH | Off | 20240221-1858 | 20240221-1910 |  | Power cut, radio to repeaterGBH at MVO not on UPS
MBGH | Off | 20240222-1935 | 20240222-1948 |  | Power cut
MBGH | Off | 20240425-0244 | 20240503-1327 |  | Digitiser config seems to have reset to defaults
MBGH | Off | 20240925-1353 | 20240925-1403 |  | Possible earthworm or network problem.
MBGH | Fault | 20241129-0909 | 20241129-1800 | Frequent long outages | Garibaldi Hill repeater.
MBGH | Off | 20241218-0245 | 20241218-1220
MBGH | Off | 20250208-2035 | 20250209-1820

## MBHA
Asset | Status | Beg | End | What | Comment
MBHA | Off | 20231028-2047

## MBJH
Asset | Status | Beg | End | What | Comment
MBJH | On | 20240531-1200 |  | Installed OGM 3C | Location code 10

## MBLG
Asset | Status | Beg | End | What | Comment
MBLG | Fault | 20240101-0000 |  | Slow data transfer | Tested transfer rate below 0.02 MB/s
MBLG | Off | 20240104-0925 | 20240104-1137
MBLG | Off | 20240104-2323 | 20240105-1329
MBLG | Fault | 20240106-2100 | 20240110-1612 | Power only during daylight | New batteries installed
MBLG | Off | 20240109-2028 | 20240110-1612
MBLG | Off | 20240123-1307 | 20240123-1600
MBLG | Off | 20240125-1007 | 20240125-1500
MBLG | Off | 20240129-2223 | 20240130-1900
MBLG | Off | 20240206-1927 | 20240211-1100
MBLG | Off | 20240219-1821 | 20240219-1830 |  | Restarted ew receiver
MBLG | Off | 20240222-1935 | 20240222-1948 |  | Power cut
MBLG | Fault | 20240513-0000 |  | Slow connection | Data falls behind and has to catch up.
MBLG | Off | 20240618-1135 | 20240618-2102 | No internet at MVO
MBLG | Off | 20240623-1926 | 20240625-0000 |  | Unsure time reconnected, backfilling very, very slow
MBLG | Off | 20240703-2231 | 20240706-0013 |  | Problems with Silver Hills repeater
MBLG | Off | 20240714-0340 | 20240715-1503 |  | Problems with Silver Hills repeater
MBLG | Off | 20240813-0435 | 20240813-1613 |  | Power outage during storm
MBLG | Off | 20241124-0325 | 20241124-1356 | Link via Silver hills problem
MBLG | Off | 20241202-1647 | 20241202-1741
MBLG | Off | 20241203-0856 | 20241203-1215 |  | Was off at same time yesterday. Battery? Slow backfilling.
MBLG | Off | 20241215-2147 | 20241216-1300
MBLG | Fault | 20241216-1300 | 20241217-0000 | Very slowly backfilling after restart of ew module.
MBLG | Fault | 20250101-0000 |  | Off at night, very slow backfilling. | Battery? Not sure when this started. Wasn’t off overnight on 20250107.
MBLG | Action | 20250108-1702 |  |  | Installed new batteries. Re-aligned antenna and trimeed trees.
MBLG | Fault | 20250108-1702 | 20250108-1940 | Behind, slow backfilling | Might be connected to all stations being behind.
MBLG | Off | 20250126-0917 | 20250127-1448 | Link via Silver hills problem
MBLG | Test | 20250423-1830 |  | Temporarily reduced sampling rate to 100Hz. | Didn’t affect delays in connecting to station.
MBLG | Off | 20250501-0711 | 20250501-1700
MBLG | Off | 20250502-0357 | 20250502-1345

## MBLY
Asset | Status | Beg | End | What | Comment
MBLY | Fault | 20240208-0740 | 20240210-0000 | Regular spikes on HH1, HH2 | Spikes are 0.6s apart. Very heavy rainfall when they started.
MBLY | Off | 20240411-1700 | 20240411-1710 |  | Restarted ew
MBLY | Action | 20240709-1534 |  | Reset radio | Ants in connection
MBLY | Off | 20240831-1639 | 20240902-1242
MBLY | Fault | 20241119-1000 | 20241119-1700 |  | Vertical lines in spectrogram, becoming very regular (6-7s apart).
MBLY | Off | 20241218-1449 | 20241218-1457 |  | Went off when power restored after power cut.
MBLY | Off | 20241223-0929 | 20241223-0929 |  | Slow backfilling
MBLY | Off | 20250423-1853 | 20250423-1903 | No data during generator test at MVO. | PW says only affects displays at front of Ops Room.
MBLY | Fault | 20250506-1900 | 20250506-2130 | Spikes on horizontals. | Time between spikes increases with time. After heavy rainfall.

## MBMH
Asset | Status | Beg | End | What | Comment
MBMH | On | 20240531-1200 |  | Installed OGM 3C | Location code 10

## MBRV
Asset | Status | Beg | End | What | Comment
MBRV | Fault | 20240207-1200 | 20240213-1400 | Occasional gaps in data | Been like this for a while
MBRV | Off | 20240222-1935 | 20240222-1948 |  | Power cut
MBRV | Off | 20240326-1349 | 20240326-1728
MBRV | Off | 20240404-1450 | 20240404-1956
MBRV | Off | 20240408-1257 | 20240408-1647
MBRV | Off | 20240502-1559 | 20240502-2300
MBRV | Off | 20240502-2338 | 20240508-1458
MBRV | Fault | 20240531-1423 |  | Frequent spikes on all three components.
MBRV | Off | 20240618-1135 | 20240618-2102 | No internet at MVO
MBRV | Off | 20240703-2231 | 20240706-0013 |  | Problems with Silver Hills repeater
MBRV | Off | 20240713-0349 | 20240714-2230 |  | Problems with Silver Hills repeater
MBRV | Off | 20240813-0435 | 20240813-1613 |  | Power outage during storm
MBRV | Off | 20241124-0325 | 20241124-1356 | Link via Silver hills problem
MBRV | Off | 20250118-0343 | 20250119-1903
MBRV | Off | 20250126-0917 | 20250127-1448 | Link via Silver hills problem
MBRV | Off | 20250323-0713 | 20250402-1830
MBRV | Fault | 20250402-0804 |  | Frequent short gaps in data

## MBRY
Asset | Status | Beg | End | What | Comment
MBRY | Off | 20240120-1029 | 20240122-1316
MBRY | Fault | 20240123-1248 | 20240213-1400 | Frequent gaps
MBRY | Off | 20240129-2223 | 20240131-1545 |  | Occasional patches of data
MBRY | Off | 20240222-1935 | 20240222-1942 |  | Power cut
MBRY | Off | 20240408-1257 | 20240408-1647
MBRY | Off | 20240526-1319 | 20240527-1307
MBRY | Fault | 20240607-1400 | 20240622-0920 | Frequent gaps
MBRY | Off | 20240618-1135 | 20240618-2102 | No internet at MVO
MBRY | Fault | 20240622-0920 | 20240625-1145 | Very frequent gaps | Radios reconfigured
MBRY | Off | 20240703-2231 | 20240706-0013 |  | Problems with Silver Hills repeater
MBRY | Fault | 20240708-0800 |  | Gaps
MBRY | Off | 20240713-0348 | 20240715-1503 |  | Problems with Silver Hills repeater
MBRY | Off | 20240813-0435 | 20240813-1613 |  | Power outage during storm
MBRY | Fault | 20240813-1613 | 20240813-1946 | Very frequent gaps
MBRY | Off | 20241124-0325 | 20241124-1356 | Link via Silver hills problem
MBRY | Fault | 20241202-1646 | 20241202-1841 | Very frequent gaps | During and after heavy rainfall.
MBRY | Fault | 20250215-2135 |  | Frequent outages
MBRY | Off | 20250126-0917 | 20250127-1448 | Link via Silver hills problem
MBRY | Fault | 20250419-2000 |  | Frequent gaps in data

## MBSS
Asset | Status | Beg | End | What | Comment
MBSS | On | 20240606-1500 |  | Installed OGM 3C | Location code 10

## MBWH
Asset | Status | Beg | End | What | Comment
MBWH | Off | 20240115-1300 | 20240130-1800 |  | Seismometers were locked. Masses recentred.
MBWH | Fault | 20240131-1926 | 20240214-1600 | Many gaps in data
MBWH | Off | 20240208-2057 | 20240209-1900 |  | Garibaldi repeater was flooded
MBWH | Off | 20240214-0733 | 20240214-1332
MBWH | Off | 20240216-0515 | 20240216-1332
MBWH | Fault | 20240211-0500 | 20240220-0934 | Off every day between approx 0500 and 1330
MBWH | Off | 20240220-0934 | 20240222-1856 |  | Power at site
MBWH | Off | 20240222-1935 | 20240222-1938 |  | Power cut
MBWH | Off | 20240223-0343 | 20240313-1812 |  | Radio problem
MBWH | Off | 20240313-2144 | 20240317-1654
MBWH | Off | 20240320-0356 | 20240320-1558
MBWH | Fault | 20240320-1558 | 20240410-0000 | Many gaps in data | Fewer gaps after maintenance on 20240327
MBWH | Off | 20240406-0652 | 20240406-1237 |  | Lost connection because of power problems at MVO.
MBWH | Fault | 20240509-0855 | 20240612-1719 | Many gaps in data | Radio link adjusted
MBWH | Fault | 20241129-0907 | 20241129-1800 | Frequent long outages | Garibaldi Hill repeater.
MBWH | Off | 20250208-2035 | 20250209-1820
MBWH | Off | 20250416-1554 | 20250417-1411 | During site visit to install radian. | IP conflict with Radian.
MBWH | Action | 20240416-1845 |  | Installed Radian | Minimus 05E5B, Radian 1307
MBWH | Action | 20250417-1411 |  | Changed ip to 172.17.102.25 | Clashed with existing station.
MBWH | Fault | 20250417-1411 | 20250423-1930 | No data from Radian | Minimus doesn’t detect any sensors. (It worked yesterday.)

## MSGA
Asset | Status | Beg | End | What | Comment
MSGA |  | 20240606-1400 |  | Deployed OGM nose

## MSGS
Asset | Status | Beg | End | What | Comment
MSGS |  | 20240606-1200 |  | Deployed OGM nose

## MSRE
Asset | Status | Beg | End | What | Comment
MSRE |  | 20240606-1200 |  | Deployed OGM nose

## MSS1
Asset | Status | Beg | End | What | Comment
MSS1 | Fault | 20240201-1612 | 20240201-2119 | Gaps in data
MSS1 | Fault | 20240205-0910 | 20240208-2239 | Gaps in data
MSS1 | Remark | 20240207-1430 |  |  | Gaps seen in both winston1 and mvocobweb1 wws
MSS1 | Remark | 20240208-1235 |  | Ping test | Intense ping shows no gaps when pinging spiderbox1 from mvocobweb1, despite gaps in data.
MSS1 | Fault | 20240209-2100 | 20240214-0628 | Gaps in data
MSS1 | Off | 20240304-1353 | 20240304-2041 |  | mvocobweb1 being updated
MSS1 | Remark | 20240605-1330 |  | Deployed OGM node
MSS1 | Off | 20240713-1624 | 20240714-1907

## MSUH
Asset | Status | Beg | End | What | Comment
MSUH |  | 20240605-1300 |  | Deployed OGM nose

## OLV1
Asset | Status | Beg | End | What | Comment
OLV1 | Fault | 20240101-0000 |  | Spikes and steps in data

## TRNT
Asset | Status | Beg | End | What | Comment
TRNT | Fault | 20240101-0000 |  | Continuous spikes on vertical

## Actions
Asset | Status | Beg | End | What | Comment
opsproc2 | Action | 20240206-1413 |  | Stopped ping, latency scripts
mvocobweb1 | Action | 20240206-1420 |  | Rebooted
winston1 | Action | 20240206-1745 |  | Restarted ew mods slink2ew_MBFR and slink2ew_MBGH
winston1 | Action | 20240206-1845 |  | Restarted ew/restart import_generic_spiders
opsrm3 | Action | 20240207-1558 |  | Restarted wws | No data being shown on spectrogram display
repeaterGBH | Action | 20240209-1900 |  | Repaired | Flooded
winston1 | Action | 20240214-1310 |  | Increased SocketTimeout x10 in ew/import_ack | To see effect on gaps in GR stations.
system | Action | 20240210-1900 |  | Grenada stations added.
winston1 | Action | 20240215-2125 |  | Restarted waveserver
opsproc3 | Action | 20240215-2125 |  | Restarted waveserver
earthworm3 | Action | 20240216-1510 |  | Removed GR stations from ew/rsam2alarm | Was causing false alarms.
winston1 | Action | 20240216-1515 |  | Reset SocketTimeout in ew/import_ack | That wasn’t the problem.
opsproc3 | Action | 20240222-1250 |  | Removed cron backups to MVOSeisD6 | Was filling the disk.
opsproc3 | Action | 20240226-1555 |  | Restarted wws | Error - should have restarted winston1 wws
winston1 | Action | 20240226-1605 |  | Restarted wws
winston1 | Action | 20240226-1607 |  | Restarted ew | Zombie process for wws2
earthworm3 | Action | 20240229-1332 |  | Added OLV1, TRNT to ew/trig2disk
winston1 | Action | 20240304-1501 |  | Stopped wws, ew
winston1 | Action | 20240304-1545 |  | Rebooted
earthworm3 | Action | 20240304-1610 |  | Restarted ew | Helicorders were not being updated properly following restart of system.
mvocobweb1 | Action | 20240305-0000 |  | OS updated, IP address changed
winston2 | Action | 20240305-1330 |  | Setup VM
opsproc3 | Action | 20240305-1425 |  | Restarted cronjobs for heliStackWide and mseedTriggers
opsproc3 | Action | 20240313-1302 |  | Restarted cronjobs for mseedTriggers | Wasn’t running because of time commoand in cron line
mvofls2 | Action | 20240322-0800 |  | Created 2024 directory in helicorder_plots_station_month | Cronjob was failing
winston1 | Action | 20240405-1215 |  | Restarted waveserver | To stop gaps appearing in displayed and triggered data
opsproc3 | Action | 20240405-1219 |  | Restarted waveserver | To stop gaps appearing in displayed and triggered data
winston1 | Action | 20240405-1413 |  | Restarted ew/slink2ew_MBFR | MBFR data had stopped
winston1 | Action | 20240406-1237 |  | Restarted ew/scream2ew_MBWH | Connection lost due to power issues at MVO
winston1 | Action | 20240406-0850 |  | Restarted waveserver | To stop gaps appearing in displayed data. FAIL
opsproc3 | Action | 20240405-1219 |  | Restarted waveserver | To stop gaps appearing in displayed data. FAIL
winston1 | Action | 20240411-1710 |  | Restarted ew/slink2ew_MBLY | MBLY data had stopped
winston2 | Action | 20240515-0940 |  | VM now operational
system | Action | 20240618-2038 |  | Main switch rebooted,
winston1 | Action | 20240702-1230 |  | Purged wws tables | WWS was unresponsive
winston1 | Action | 20240702-1758 |  | Restarted wws, importew and earthworm | No signals on displays
winston1 | Off | 20240702-1727 | 20240702-1757 | No data | Problems with wws.
system | Action | 20240801-1914 |  | Main switch reset
opsproc3 | Action | 20240730-0000 |  | Installed Ubuntu 24.04 and reinstalled all software. | Disk failure had led to corrupt files.
winston1 | Action | 20240815-2040 |  | Rebooted | a java process was< taking more than 100% CPU time
winston1 | Action | 20241007-1241 |  | Restarted waveserver
winston1 | Action | 20241016-1200 |  | Restarted waveserver
winston1 | Action | 20241202-1215 |  | Restartes ew
winston1 | Action | 20241202-1215 |  | Restarted waveserver
earthworm3 | Action | 20241202-1215 |  | Removed MBFL from ew/rsam2alarm. | Was causing false triggers.
winston1 | Action | 20241216-1300 |  | Restarted ew/slink2ew_MBLG
winston1 | Action | 20241218-1220 |  | Restarted ew/slink2ew_MBGH
winston1 | Action | 20241218-1457 |  | Restarted ew/slink2ew_MBLY
winston1 | Action | 20241219-0550 |  | Restarted waveserver and ew
earthworm3 | Action | 20241219-0950 |  | Restarted ew
winston1 | Action | 20241223-0929 |  | Restarted ew/slink2ew_MBLY
winston1 | Action | 20250108-1525 |  | Restarted ew/slink2ew_MBFR
winston1 | Action | 20250108-1824 |  | Restarted ew/slink2ew_MBFR
winston1 | Action | 20250109-0032 |  | Restarted waveserver and ew | It might have been fixed by restarting ew, but I impatiently restarted the waveserver as well.
winston1 | Action | 20250109-1736 |  | Restarted ew | Data almost caught up, but then stopped again.
winston1 | Action | 20250109-1742 |  | Restarted waveserver and ew
winston1 | Action | 20250129-1453 |  | Restarted wws | Having problems retrieving data.
winston1 | Action | 20250210-1741 |  | Restarted wws | All swarm displays not updating.
winston1 | Action | 20250233-1930 |  | Restarted waveserver and ew | All swarm displays not updating.
earthworm3 | Action | 20250326-1450 |  | Removed MBGH from ew/rsam2alarm_tremor and ew/rsam2alarm. | Might have contributed to false trigger.
earthworm3 | Action | 20250328-1300 |  | Re-enabled ew/swarm_alarm | Had been disabled since 29-May-2017.
earthworm3 | Action | 20250402-2048 |  | Restarted earthworm/slink2ew_MBBY
earthworm3 | Action | 20250403-1440 |  | Restarted earthworm/slink2ew_MBFL
winston1 | Action | 20250403-1443 |  | Restarted waveserver and ew
earthworm3 | Action | 20250409-2015 |  | Removed newheli and sgram, restarted ew. | Modules were always crashing.
earthworm3 | Action | 20250409-2025 |  | Removed MC and TR stations from ew2rsam | Module always crashing.
earthworm3 | Action | 20250409-2030 |  | Removed EHZ channels from ew2rsam | Module still crashing.
earthworm3 | Action | 20250410-1740 |  | Rebooted. | Trying to fix ew2rsam. Didn’t work, module still crashing.
earthworm3 | Action | 20250410-1900 |  | Reconfigured ew2rsam.d | Wildcard for HHZ channels waS CAUSING CRASHES.
earthworm3 | Action | 20250410-1920’ |  | Reinstated ew/newheli | Reduced gain at all stations.
earthworm3 | Action | 20250410-1930 |  | Reinstated ew/sgram
earthworm3 | Action | 20250411-1242 |  | Increased timeout in ew/sgram from 300 to 600 | sgram crashes.
earthworm3 | Action | 20250411-1515 |  | ew/sgram using EHZ and SHZ channels | Stop low-frequencies swamping the plot.
winston1 | Action | 20250411-1530 |  | Changed all slink2ew modules for Radians to only accept 00 location code
winston1 | Action | 20250411-1530 |  | Restarted waveserver and ew | Swarm displays not updating. CLI vey sluggish.
earthworm3 | Action | 20250411-1543 |  | Updated ew/dirwatch.d
winston1 | Action | 20250415-1828 |  | Restarted waveserver and ew | Swarm displays not updating.
earthworm3 | Action | 20250415-1914 |  | Stopped ew/sgram | Frequent crashes
winston1 | Action | 20250416-1905 |  | Added MBWH radian to earthworm.
earthworm3 | Action | 20250423-1852 |  | ew/carlsubtrig: recuded number of stations to trigger from 4 out of 9 to 3 out of 7
earthworm3 | Action | 20250423-1915 |  | Restarted ew/slink2ew_MBLY | No data when power was restored.
winston1 | Action | 20250423-1939 |  | Restarted waveserver and ew | For test channels from MBWH HH?
system | Action | 20250423-1940 |  | Saving MBWH HH? Channels in continuous data and helicorders
winston1 | Action | 20250501-1502 |  | Restarted ew/slink2ew_MBLG
winston1 | Action | 20250502-1345 |  | Restarted ew/slink2ew_MBLG
winston1 | Action | 20250502-1401 |  | Restarted waveserver and ew | Ops Room displays missing data.
winston1 | Action | 20250502-1550 |  | Added ew/archman24.d | Second set of rbuffers, delayed 24 hours.
winston1 | Action | 20250511-1943 |  | Reduced data retention time from 31 to 15 days. | Crontab for user mvo.
winston1 | Action | 20250513-1437 |  | Restarted waveserver | Ops Room displays missing data.
system | Action | 20250513-1500 |  | Switched from MBWH BH* to MBWH HH*